Appendix Q

COMPLIANCE STATEMENT

FOR

THE ENERGY AUDIT

№ ………/………. 2019

In relation to a Energy Audit of the external lighting system(s) submitted by …………………………. (name of the applicant muncipality) and following examination of the compliance of the submitted Energy Audit, performed for the purposes of Project Selection Procedure Rehabilitation and Modernization of Municipal Infrastructure - Systems for External Artificial Lighting of Municipalities under the Renewable Energy, Energy Efficiency, Energy Security Program, it was established as follows

| № | Criterion | Yes | No |
| --- | --- | --- | --- |
| - 1 | The Energy Audit / revised Energy Audit was submitted within the deadlines, provided in the Applicant Guidelines for the Procedure. |  |  |
|  | The Energy Audit was prepared by a person registered in the public register under Art. 60, para. 1 of the Energy Efficiency Act (EEA), with a team according to its registration and the Report was signed by the manager of the person under Art. 60 of the EEA |  |  |
|  | The Energy Audit was prepared in compliance with the Ordinance under Art. 57, para. 6 of the Energy Efficiency Act, and includes information on all points. |  |  |
|  | The Energy Audit contains a selection of lighting classes in accordance with the standardization document for road lighting CEN/TR 13201-1 |  |  |
|  | The Energy Audit lays down technical requirements in accordance with the standards for road lighting: BDS EN 13201-2 |  |  |
|  | The Energy Audit includes calculation of road lighting performance in accordance with the standards for road lighting: BDS EN 13201-3 |  |  |
|  | The Energy Audit includes energy efficiency indicators in accordance with the standards for road lighting: BDS EN 13201-5 |  |  |
|  | The findings of the Energy Audit are precise and correct. |  |  |
|  | The luminaire type selected in the Energy Audit has output value not less than 120 lm/W |  |  |
|  | The luminaire type selected in the Energy Audit has luminous distribution with 0.0% upward light output ratio |  |  |
|  | The estimate of greenhouse gas savings was calculated at an emission factor of 1.18 tCO2/MWh. |  |  |
|  | The Payback period of each measure was properly calculated. |  |  |

Justification in case of disapproval of the Energy Audit:

CONCLUSION:

SEDA approves/disapproves the Energy Audit of …………….......................................... (name of applicant municipality)

The present Compliance statement is issued to be presented to the Programme Operator of the Renewable Energy, Energy Efficiency, Energy Security Program for application under Project Selection Procedure Rehabilitation and Modernization of Municipal Infrastructure - Systems for External Artificial Lighting of Municipalities.

Signature:

(Executive director or other authorized person)